## Sheet1
WINCH MONITORING SYSTEM - 3PS
Calibration Date:
Calibration Instrument: Dillon Tension Electronic Dynamometer model EDXtreme
S/N: EDX2600306
Calibration Date: 2019-Apr-25
chain fall hung above dynamometer, weight = |  |  |  | 98 | lbs
dynamometer + 2 large shackles, weight = |  |  |  | 38.5 | lbs
CABLE:
Time (GMT) | Dynamometer Reading | Load Correction: Dyno+gear | 3PS Reading | Error | Error %
20:15 | 0 | 136.5 | 100 | 0.365 | 36.5
| 980 | 1116.5 | 975 | 0.14513 | 14.5128
| 1920 | 2056.5 | 1864 | 0.10327 | 10.3273
| 2940 | 3076.5 | 2860 | 0.075699 | 7.5699
cal check finish | 3920 | 4056.5 | 3874 | 0.047109 | 4.7109
after recalibration | 1060 | 1196.5 | 1272 | -0.059355 | -5.9355
| 3920 | 4056.5 | 4057 | -0.00012324 | -0.012324
| 1960 | 2096.5 | 2100 | -0.0016667 | -0.16667
| 2960 | 3096.5 | 3140 | -0.013854 | -1.3854
| 3940 | 4076.5 | 4130 | -0.012954 | -1.2954
| 0 | 136.5 | 140 | -0.025 | -2.5
| 960 | 1096.5 | 1080 | 0.015278 | 1.5278
| 520 | 656.5 | 672 | -0.023065 | -2.3065
20:50 | 80 | 216.5 | 214 | 0.011682 | 1.1682
When you calculate results that are aiming for known values, the percent error formula is useful tool for determining the precision of your calculations. The formula is given by: